Republic of the Philippines

Department of Health

HEALTH FACILITIES AND SERVICES REGULATORY BUREAU

ASSESSMENT  TOOL FOR LICENSING A DIALYSIS CLINIC

- FACILITY INFORMATION

Name of Dialysis Clinic	:

Complete Address	:

No. & Street				Barangay

City/Municipality			Province			Region

Contact Number	:                                                              E-mail Address:

Name of Owner/Corporation	:

Name of Medical Director	:

Latest DOH License Number (if renewal):

Number of Dialysis Stations:

Classification:			Government		Hospital-Based

Private			Non-Hospital-Based

- TECHNICAL REQUIREMENTS

Instruction: In the appropriate box, place a check mark (√) if the hemodialysis clinic (HDC) is compliant or  x 	            mark (X) if it is not compliant.

| STANDARDS AND REQUIREMENTS | COMPLIANT | REMARKS |
| --- | --- | --- |
| - PERSONNEL Every Hemodialysis Clinic (HDC) shall have an adequate number of qualified, trained, and competent staff to ensure efficient and effective delivery of HD services. |  |  |
| HEAD OF CLINIC |  |  |
| For Nephrologist |  |  |
| - Specialty Board Certificate |  |  |
| - Valid PRC ID and PTR |  |  |
| - Notarized Contract of Employment/MOA |  |  |
| For Non-nephrologist |  |  |
| - Valid PRC ID and PTR |  |  |
| - Notarized Contract of Employment/MOA |  |  |
| - Certificate of Employment from previous Employer (at least 3 months experience) |  |  |
| - Certificate of training (in accordance to PSN guidelines) |  |  |
| Shall visit at least once a week (documented) AND shall handle a maximum of three (3) HDCs. |  |  |
| - Attendance Logbook |  |  |
| - Notarized List of HDCs handled and corresponding work schedules |  |  |

|  | COMPLIANT |  | REMARKS |  |
| --- | --- | --- | --- | --- |
| PHYSICIAN ON DUTY Physician: HD station ratio = 1:15 (Shall attend to patients within HDF under the supervision of the Head of Clinic |  |  |  |  |
| For Nephrologist |  |  |  |  |
| - Specialty Board Certificate |  |  |  |  |
| - Valid PRC ID and PTR |  |  |  |  |
| - Notarized Contract of Employment/MOA |  |  |  |  |
| For Non-nephrologist |  |  |  |  |
| - Valid PRC ID and PTR |  |  |  |  |
| - Notarized Contract of Employment/MOA |  |  |  |  |
| - Certificate of Employment from previous employer (at least three (3) months experience) |  |  |  |  |
| Shall: - Have training in ACLS |  |  |  |  |
| - Be present during hours of operation |  |  |  |  |
| NURSE (NURSE:PATIENT/STATION RATIO 1:4) |  |  |  |  |
| - Valid PRC ID |  |  |  |  |
| - Notarized Contract of Employment/MOA |  |  |  |  |
| - Certificate of training in the nursing care of renal dialysis patients from competent training providers. |  |  |  |  |
| - Certificate of training in Basic Life Support (BLS) conducted by competent authorities or professional organizations |  |  |  |  |
| - Schedule of Duty reflecting at least one nurse per shift with an updated training in Advanced Cardiac Life Support (ACLS) conducted by competent authorities or professional organizations |  |  |  |  |
| DIALYSIS TECHNICIAN |  |  |  |  |
| - Certificate of training as Dialysis Technician |  |  |  |  |
| - Notarized Contract of Employment/MOA |  |  |  |  |
| MEDICAL RECORDS OFFICER (MRO) There shall be a designate MRO. |  |  |  |  |
| - Certificate of Training on Medical Records Management (required for dialysis facility with more than twenty dialysis stations) |  |  |  |  |
| - Notarized Contract of Employment reflecting duties and responsibilities as Medical Records Officer |  |  |  |  |
| ADMINISTRATIVE STAFF |  |  |  |  |
| - Notarized Contract of Employment |  |  |  |  |
| DESIGNATED REGULATORY COMPLIANCE OFFICER |  |  |  |  |
| - Job description, duties and responsibilities |  |  |  |  |
| - Appointment/Designation paper |  |  |  |  |
| - Compilation of pertinent laws and DOH issuances |  |  |  |  |
|  |  | COMPLIANT |  | REMARKS |
| - PHYSICAL FACILITIES Every HDC shall have physical facilities with adequate areas to ensure the safety of staff, patients, and their relatives. |  |  |  |  |
| HDC shall conform to applicable local and national regulations for the construction, renovation, maintenance and repair of the same. |  |  |  |  |
| - Business Permit |  |  |  |  |
| - Occupancy Permit (for new HDC) |  |  |  |  |
| Every HDC shall conform to the required space for the conduct of its activities depending on its workload and the services being provided. |  |  |  |  |
| - DOH-approved PTC |  |  |  |  |
| - DOH-approved floor plan |  |  |  |  |
| WATER TREATMENT ROOM (12.0 square meters) |  |  |  |  |
| Plumbing system delivers treated water to the individual dialysis machine. Two types: |  |  |  |  |
| 1. Direct feed single-pass RO system |  |  |  |  |
| 2. Indirect feed RO system (with holding tank) |  |  |  |  |
| Process Flow - Raw water storage tank |  |  |  |  |
| - Multimedia filters tank |  |  |  |  |
| - Softener |  |  |  |  |
| - Carbon filter tank |  |  |  |  |
| - Conventional bulk filters tank |  |  |  |  |
| - Reverse Osmosis tank |  |  |  |  |
| - Total Dissolved Solids (TDS) meter |  |  |  |  |
| - Water treatment monitoring logbook |  |  |  |  |
| - Allowable TDS 0-10 mg/L (ppm) |  |  |  |  |
| Written policies and procedures for storage of water and appropriate disinfection/sterilization method |  |  |  |  |
| There shall be policy on proper maintenance and monitoring of physical facilities. |  |  |  |  |
| - Pest and vermin control |  |  |  |  |
| - Protocol on Housekeeping |  |  |  |  |
| - Building/Clinic Maintenance Schedule |  |  |  |  |
| - Equipment Maintenance Schedule |  |  |  |  |
| Raw water supply shall be adequate in volume and pressure. Likewise, potability and safety of water shall be monitored/ensured. |  |  |  |  |
| - Monthly results of microbiological water analysis from three sampling points namely: |  |  |  |  |
| - Raw water |  |  |  |  |
| - Product water |  |  |  |  |
| - Point of use |  |  |  |  |
| Requirements: - HPC < 200 CFU/mL - Fecal Coliform < 1.1 MPN/100 mL |  |  |  |  |

|  | COMPLIANT | REMARKS |
| --- | --- | --- |
| Periodic water analysis for Chemical Test at point of use shall be done before the initial operation of HDC and six (6) months thereafter. Laboratory result of chemical analysis done by DOH-recognized water testing laboratory for dialysis water. |  |  |
| Corrective measure shall be undertaken in the area of the suspected cause for results which exceed AAMI water standard limit. |  |  |
| - HDC shall stop operating until corrective actions were taken and water analysis results are within AAMI standards |  |  |
| - Record of maintenance/corrective action done |  |  |
| - Repeat testing of affected parameter |  |  |
| The water for HD purpose shall be treated accordingly to maintain a continuous water supply that is biologically and chemically compatible with acceptable HD techniques. Regular replacement of RO membrane shall be done. |  |  |
| DIALYZER REPROCESSING AREA (for HDC that reprocesses dialyzers) |  |  |
| - dialyzer rack - re processor - if manual (specify disinfectant soln.) |  |  |
| - sterilizing oven - citric acid - specify period of sterilization and temp. |  |  |
| SERVICE SUPPORT AREA Properly labelled: |  |  |
| - Waste holding cubicle/area |  |  |
| - Trash bins: |  |  |
| - Green |  |  |
| - Black |  |  |
| - Yellow - Hard plastic/puncture-proof container for sharp objects |  |  |
| - Soiled linen cubicle/area -hamper |  |  |
| - Janitor’s closet |  |  |
| -mops |  |  |
| -gloves |  |  |
| -detergents |  |  |
| -disinfectant |  |  |
| -cleaning implements |  |  |
| - Emergency/Standby generator area |  |  |
| -Generator (not less than 20 KVA) appropriate to the size of the facility |  |  |

|  | COMPLIANT | REMARKS |
| --- | --- | --- |
| - NON-TREATMENT AREA OR RECEPTION AREA/SECTION |  |  |
| BUSINESS AREA |  |  |
| Reception/Information Counter |  |  |
| - Computer equipped with internet connection |  |  |
| - Digital weighing scale (can weigh patients in wheel chair) |  |  |
| - EQUIPMENT/INSTRUMENTS, SUPPLIES, AND MEDICINES Every HDC shall have available and operational equipment, instruments, materials and supplies, and medicines . (Refer to Annex A of this Assessment Tool) |  |  |

- FACILITY OPERATIONS

|  | COMPLIANT | REMARKS |
| --- | --- | --- |
| STANDARD OPERATING PROCEDURES Note: SOPs shall be duly approved by the Head of Clinic. All pages shall bear the initials of Head of Clinic. |  |  |
| Documented Standard Operating Procedures (SOP) for the provision of HDC services and for the operation and maintenance of the facility shall include: |  |  |
| - HD treatment protocol |  |  |
| - Reprocessing of dialyzers (for HD that reprocessed) |  |  |
| - Treatment of water for HD |  |  |
| - Prevention of hepatitis and other infections |  |  |
| - Management of complications |  |  |
| - Sterilization techniques |  |  |
| - Management of infectious wastes |  |  |
| - Patient referral and/or transfer to another facility |  |  |
| A Memorandum of Agreement (MOA) shall be entered into with a hospital capable of blood transfusion. |  |  |
| HEALTHCARE WASTE MANAGEMENT |  |  |
| Each HDC shall establish and implement a system for proper solid waste management which shall be in accordance with the revised DOH Manual on Health Care Waste Management and with Department of Environmental and Natural Resources - Environmental Management Bureau (DENR-EMB) relevant issuances, environmental laws, particularly R.A. 9003 (Ecological Solid Waste Management Act), the Environmental Sanitation Code, and other pertinent policy guidelines and/or issuances. |  |  |
| Each HDC shall establish and implement a system for proper liquid waste management which shall be in accordance with the revised DOH Manual on Health Care Waste Management and other EMB-DENR policy guidelines and/or issuances. |  |  |
| There shall be procedures for the proper disposal of infectious wastes and toxic and hazardous substances and the same shall be made in accordance with R.A. 6969 and other related policy guidelines and/or issuances. |  |  |
| There shall be a “No Smoking” policy and the same shall be strictly enforced. “No Smoking” signages (receiving area, waiting area, pantry, toilet, and water treatment room) |  |  |
| CONTINGENCY PLAN There shall be a contingency plan in case of accidents and emergencies including equipment breakdown. |  |  |
| SCHEDULE OF RETENTION AND DISPOSAL OF RECORDS There shall be policy and procedures on schedule of retention and disposal of records and other relevant information whether paper-based or electronic (in accordance with issuances of DOH and other authorized agencies). |  |  |
| QUALITY IMPROVEMENT ACTIVITIES |  |  |
| HDC shall have policies and procedures on Quality Assurance Program (QAP) and Continuous Quality Improvement (CQI) reviewed periodically. |  |  |
| The Quality Assurance Program (QAP) shall have written plan and its implementation shall be continuous with periodic reviews. |  |  |
| - Client Satisfaction Survey (e.g. comments, feedback) |  |  |
| - Corrective Actions taken |  |  |
| - Management meetings (with minutes of meetings) |  |  |

|  | COMPLIANT | REMARKS |
| --- | --- | --- |
| RECORDS/FILES |  |  |
| Contents of Patient’s Medical Records |  |  |
| Summary of face sheet with patient identification data, diagnosis, physician’s name and contact number, patient’s address and phone number and date of admission, family member to be contacted in case of emergency and phone number. |  |  |
| Dialysis chart with properly filled out data sheet |  |  |
| Standing order for hemodialysis - updated quarterly |  |  |
| Physician’s order - Standing order shall be updated as deemed necessary. |  |  |
| Informed consent form -updated annually and as deemed necessary. |  |  |
| Laboratory and x-ray reports |  |  |
| Clinical and graphic patient’s vital signs |  |  |
| Medication record |  |  |
| Dietary assessment, updates, and progress notes |  |  |
| Consultations, hospitalizations |  |  |
| Nurse’s notes for every dialysis session |  |  |
| Problem list |  |  |
| Clinical abstract |  |  |
| Advance Directive, if any |  |  |
| Documented patient education |  |  |
| Hepatitis profile |  |  |
| Patient’s vaccination status: The following are required: |  |  |
| - Hepatitis B vaccination at 0,1, 6 months |  |  |
| - Booster dose for Hepatitis B |  |  |
| - Routine post-vaccination testing thirty days after the last dose; Titer Result |  |  |
| The following are highly recommended: - Influenza vaccination annually |  |  |
| - Pneumococcal vaccination every five (5) years |  |  |
| Complications/Adverse Events Logbook shall Include, but not be limited to, the following format (Refer to Annex-C of A.O. No. 0012-0001): |  |  |
| -Date |  |  |
| -Name of Patient |  |  |
| -Age |  |  |
| -Complication Noted |  |  |
| -Description of Incident/Time |  |  |
| -Action taken |  |  |
| -Disposition |  |  |
| -Time |  |  |
| -Signature of Nurse on Duty |  |  |
| REDCOP Patient Registry Every HDC shall register its patients to PRDR in support of REDCOP of DOH and in coordination with PSN. For initial – Look for letter of intent to participate |  |  |
| - Encoding should be done using required forms from REDCOP |  |  |
| - Annual Statistical Report |  |  |
| - Certificate of Participation/Proof of receipt of annual statistical report by REDCOP |  |  |

|  | COMPLIANT | REMARKS |
| --- | --- | --- |
| Administrative Records |  |  |
| Every HDC shall maintain the following: a. Minutes of the meeting |  |  |
| b. Attendance logbook |  |  |
| c. 201 files of personnel Resume |  |  |
| Job description |  |  |
| Physical Examination |  |  |
| Laboratory test results |  |  |
| Certificates of training |  |  |
| Record of personnel vaccination: - Hepatitis B vaccination at 0,1,6 months - Routine post-vaccination testing thirty days after the last dose |  |  |
| 2. Influenza vaccination annually |  |  |
| - Pneumococcal vaccination every five (5) years |  |  |
| d. Reports of DOH inspection and monitoring |  |  |
| Technical Records/Logbook |  |  |
| -Records showing that the RO Systems are properly maintained and monitored by licensed and reputable companies |  |  |
| - Logbook/Records on efficiency/machine hours of HD machines |  |  |
| - Inventory card of each HD machine to determine the dates of manufacture - Date of acquisition and installation |  |  |
| - Schedule of calibration of HD machine/equipment |  |  |
| - Logbooks/Records of preventive and corrective maintenance of HD machine/equipment. |  |  |
| TRANSFER AGREEMENT/REFERRAL SYSTEM |  |  |
| Record of transfer/referral of patient to another facility |  |  |

Republic of the Philippines

Department of Health

HEALTH FACILITIES AND SERVICES REGULATORY BUREAU

ANNEX A – List of Equipment, Instruments, Supplies, and Medicines

|  | MINIMUM REQMNT | COMPLIANT |  | MINIMUM REQMNT | COMPLIANT |
| --- | --- | --- | --- | --- | --- |
| EQUIPMENT |  |  | EQUIPMENT |  |  |
| HD Machine - Presence of manufacturing date | 1 |  | Thumb forceps |  |  |
| - Not more than 10 years or 30,000 machine hours |  |  | Oxygen tank with holder (with gauge and humidifier) | 1 |  |
| - Certificate of Warranty |  |  | Portable suction device | 1 |  |
| - Proof of purchase |  |  | Stretcher and gurney | 1 |  |
| - Machine Manual |  |  | Trolley for oxygen tank | 1 |  |
| - Calibration certificate from recognized calibration facility |  |  |  |  |  |
| Dialysis chair(s) capable of full recline and Trendelenburg position or patient bed(s), (90cmx70cm) with guard rails or its equivalent | 1 |  | E-CART WITH BASIC EQUIPMENT/ INSTRUMENTS |  |  |
| Refrigerator with non-mercurial thermometer (exclusive for medicines) | 1 |  | Airway adjuncts (oropharyngeal and nasopharyngeal airways) | 1 |  |
| Fire extinguisher | 1 |  | Airway intubation kit: - Bag-valve-mask device (adult set) | 1 |  |
| Foot stool | 1 |  | - Endotracheal tube (size 7.5-8) |  |  |
| Floor lamp (droplight or gooseneck) | 1 |  | - Laryngoscope, adult set |  |  |
| IV stands/poles | 1 |  | Calculator | 1 |  |
| Mayo table with tray | 1 |  | Cardiac board | 1 |  |
| Minor surgical set: | 1 |  | Cardiac / ECG leads | 1 |  |
| Kelly forceps, curved, 6 inches |  |  | Defibrillator with cardiac monitor and pulse oximeter | 1 |  |
| Knife handle with blade |  |  | Glucometer with strips | 1 |  |
| Mayo scissors, curved, 8 inches |  |  | Nebulizer | 1 |  |
| Mayo scissors, straight, 8 inches |  |  | Penlight or flashlight | 1 |  |
| Metal tray cover, 8 inches x 12 inches |  |  | Stethoscope | 1 |  |
| Metzenbaum scissors, 8 inches |  |  | Sphygmomanometer | 1 |  |
| Mosquito forceps, curved |  |  | Thermometer | 1 |  |
| Needle holder, 8 inches |  |  |  |  |  |
| Skin retractors |  |  |  |  |  |
| Tissue forceps, with teeth |  |  |  |  |  |
| Tissue forceps, without teeth |  |  |  |  |  |

|  | MINIMUM REQMNT | COMPLIANT |  | MINIMUM REQMNT | COMPLIANT |
| --- | --- | --- | --- | --- | --- |
| BASIC SUPPLIES |  |  |  |  |  |
| Adhesive plaster |  |  | Oxygen tubing |  |  |
| Alcohol, 70% |  |  | Povidone-iodine antiseptic solution |  |  |
| Asepto syringe, 50 ml |  |  | Protective face shields or masks |  |  |
| Gloves, different sizes, sterile and clean |  |  | Standard face mask |  |  |
| Hydrogen peroxide |  |  | Water-proof aprons |  |  |
| IV cannula |  |  | Sterile gauze |  |  |
| IV line |  |  | Sutures |  |  |
| Nasal cannula |  |  | Test Strip for residual dialyser disinfectant |  |  |
| Nasogastric tube |  |  |  |  |  |
| EMERGENCY DRUGS |  |  |  |  |  |
| Amiodarone 150mg/ampule | 2 ampules |  | Intravenous Fluids: -D5 0.3 NaCl 500 ml/bottle | 2 bottles |  |
| Aspirin USP grade 325mg/tablet | 6 tablets |  | -D5LR 1 L bottle | 2 bottles |  |
| Atropine Sulfate 1 mg/ml ampule | 10 ampules |  | -D5NM 500 ml bottle | 2 bottles |  |
| B-Adrenergic agonists-salbutamol 2mg/ml | 5 ampules |  | -D5NSS 1 L bottle | 2 bottles |  |
| Benzodiazepine [diazepam 10 mg/2 ml a mpule and/or midazolam ] | 4 ampules |  | -D5W 250 ml bottle | 2 bottles |  |
| Calcium Gluconate, 10 mg/ampule | 2 ampules |  | Lidocaine, 5% 1g/50ml | 2 vials |  |
| Caloric agent, D50W 50 ml/vial | 5 vials |  | Mefenamic acid 500 mg/tab | 4 tablets |  |
| Clonidine 75 mg tablet | 10 tablets |  | Nitroglycerine spray or isosorbide dinitrate 5 mg/tablet | 10 tablets |  |
| Diphenhydramine maleate, 50 mg/ amp | 10 ampules |  | Noradrenaline 2 mg/ampule | 4 ampules |  |
| Digoxin 0.5 mg./ ampule | 2 ampules |  | Paracetamol 300 mg/ampule | 4 ampules |  |
| Dobutamine250 mg./20 ml vial | 2 vials |  | Phenobarbital IV or tablet Grains 60mg or 30 mg | 4 ampules/ 4 tablets |  |
| Dopamine 200mg/vial | 2 vials |  | Sodium Bicarbonate 50mEq/ampule | 4 ampules |  |
| Epinephrine 1 mg/ml ampule | 10 ampules |  | Terbutaline 0.5 mg/ampule | 2 ampules |  |
| Hydrocortisone IV | 4 vials |  | Tramadol 50 mg tablet | 5 tablets |  |

# Republic of the Philippines

# Department of Health

HEALTH FACILITIES AND SERVICES  REGULATORY BUREAU

Name of Dialysis Clinic

Date of Inspection:

RECOMMENDATIONS:

- For Licensing Process:

[   ]	For issuance of License as  Hemodialysis  Clinic.

Number of Stations                                                   Classification

Validity from  	to

[   ]	Issuance depends upon compliance to the recommendations given and submission of the

following within                                                               days from the date of inspection:

[   ]	Non-Issuance : Specify

Inspected by:

| Name | Position/Designation | Signature |
| --- | --- | --- |

Received  by:

Signature

Name

Position/Designation

Date

Republic of the Philippines

Department of Health

HEALTH FACILITIES AND SERVICES REGULATORY BUREAU

Name of Health Facility  :

Date of Monitoring:

RECOMMENDATIONS:

- For Monitoring Process:

[   ]	Issuance of Notice of Violation

[   ]	Non-issuance of Notice of Violation

[   ]	Others (Specify)

Monitored by:

| Printed Name | Signature | Position/Designation |
| --- | --- | --- |

Received  by:

Signature

Printed Name

Position/Designation

Date